## Slide 1: Standards for Asset Identification and Location

## Slide 2: Agenda
  Asset Identification and Location Workshop #2
    Recap
    Use Case walk through - test how easy the navigation is for several different scenarios.
    Review Location Hierarchies for:
      "Main 8"
      Other Buildings
      Car Parks
      External Streets
      Taxiway/Runways
    Flesh out building areas for the remaining "Main 8”.

## Slide 3: Recap
    Different Stakeholders view location from different perspectives
      Grid
      Building
      Tenancy
    Recommended Location Structure for FM navigation
      Main 8 Buildings
      Other Buildings
      Car Parks
      External Streets
      Taxiways/Runways
    Location References
      Sectors
      Co-Ordinates
        Army
        Airforce
        Airport
      Building Numbers
        Tenancy Numbers
        Door Numbers
        Toilet Block Numbers
    Asset #s to be auto-generated for simplicity and as a foundation for future GIS/BIM integration.

## Slide 4: Recap
    Issues Identified
      A co-ordinated process is required for updates:
        Retail: Tenancy Moves
        Property: Properties becoming SACL Assets
        New Projects: Asset Commissioning
      Site number from Oracle
      An AKA (Also Known As) register is required to assist with identification.
      “Ownership” of assets - Who’s responsible.

## Slide 5: Review Location Hierarchy

## Slide 6: Agenda
  Asset Identification and Location Workshop #2
    Recap
    Use Case walk through - test how easy the navigation is for several different scenarios.
    Review Location Hierarchies for:
      "Main 8"
      Other Buildings
      Car Parks
      External Streets
      Taxiway/Runways
    Flesh out building areas for the remaining "Main 8”.

## Slide 7: Agenda
  Asset Identification and Location Workshop #2
    Recap
    Use Case walk through - test how easy the navigation is for several different scenarios.
    Review Location Hierarchies for:
      "Main 8"
      Other Buildings
      Car Parks
      External Streets
      Taxiway/Runways
    Flesh out building areas for the remaining "Main 8”.

## Slide 8: Next Steps

## Slide 9: Use Case walk through
Test how easy the navigation is for several different scenarios.

## Slide 10: Location & Asset Hierarchies – Why?
Using systems of locations and always knowing the location of an asset provides the ability to track valuable information on the history of assets, including asset performance at specific sites, and asset movements between locations.
It provides the agility to query and optimise the placement of assets in a logical structure which in turn provides the user with an interface which is devoid of any clutter. A well thought out hierarchy provides the ability to:
    Identify the location of an asset as it exists within the business
    Identify accurately where work is being done
    Roll-up costs to the correct level
    Capture condition data at the right place
    Drill-down to the lowest component of an asset or physical location
    Identify, manage and mitigate risks associated with locations/assets

## Slide 11: Asset Identification
Site
Facility (Building)
Floor
Floor
Facility (Building)
Floor
Space (room)
Space (room)
Space (room)
Space (room)
Location
Classification
Asset
Component
Component
The Asset Detail PMs, Work Orders, Costs, Etc.
Locate an Asset
Manage by Asset type. Roll-Up

## Slide 12: Asset Identification
  The Asset/Sub-Assets (Asset Hierarchy)
      An asset is a piece of equipment, a tool, a vehicle or any entity that you want to track charges against.
      Assets (assembly or parent) may contain sub-assets (component or child).
        E.g. Chiller may have pump, valves, controls as components.
        Now you can charge general inspections against the assembly asset, but if you find problems during the inspection, you can charge the work against the actual subcomponent.
        The effort of maintaining an asset increases exponentially with the depth of hierarchy.
Assets can be grouped according to Classifications
  Location
      A location is a place, usually in a geographical sense (it could also be a location along a process).
      Locations can have a parent-child hierarchy
        E.g. Site, Facility (Building), Floor, Space (Room)
  Asset Classifications
      Asset Type, Key Systems,
        Used to manage asset by type etc.
        Used to roll-up information
  Other Classifications:
    E.g. Zone – e.g. HVAC. Linear – e.g. road tunnel, rail line. Consists – e.g. trains

## Slide 13: Assets and Locations
  Location
      Assumed not to have financial value
      Work performed at location
      Work and cost history based on location field (many assets)
      Cost rollup calculates value of work completed at sub-locations
      Holds the default GL code for work
      Tracks status
      Can have item, calendar, meters, specification
      Is independent of assets installed at location
      Can exist in multiple System hierarchies
  Asset
      Assumed to have financial value
      Work performed on asset, at a location
      Can have vendor, manufacturer and serial number
      Can have spare parts and sub-assemblies
      Can be “rotatable” (repairable, and can exist within a store location)
      GL code for asset and location (merged)
      Tracks status
      Can have item, calendar, meters, specification
      Work and cost history based on asset field (many locations)

## Slide 14: Rule of Thumb
  An Asset
    Is over $1,000 in cost, or
    It can be repaired or rebuilt and put back into service. Everything else is a spare part, not an asset.
        E.g., a $25 relay is a spare part because it meets neither of these criteria, but a $1,500 contactor is an asset because it meets both.
N.B. Some lower value items may be managed as an asset, if they are mission critical/high risk.

## Slide 15: Asset Identification
Site
Facility (Building)
Floor
Floor
Facility (Building)
Floor
Space (room)
Space (room)
Space (room)
Space (room)
Location
Classification
Asset
Component
Component
The Asset Detail PMs, Work Orders, Costs, Etc.
Locate an Asset
Manage by Asset type. Roll-Up

## Slide 16: Agenda
  Asset Identification and Location Workshop
    Location & Asset Hierarchies - Why? >RM
    Some Definitions >RM
    Recap on Asset Categorisation work to date >All
    Current Issues & Challenges with Asset and Location identification >All
    Planning for the future >RM
    Next Steps >All

## Slide 17: Agenda
  Asset Identification and Location Workshop
    Location & Asset Hierarchies - Why? >RM
    Some Definitions >RM
    Recap on Asset Categorisation work to date >All
    Current Issues & Challenges with Asset and Location identification >All
    Planning for the future >RM
    Next Steps >All

## Slide 18: Agenda
  Asset Identification and Location Workshop
    Location & Asset Hierarchies - Why? >RM
    Some Definitions >RM
    Recap on Asset Categorisation work to date >All
    Current Issues & Challenges with Asset and Location identification >All
    Planning for the future >RM
    Next Steps >All

## Slide 19: Asset Numbers
  There are a number of approaches for numbering Assets.
  Two common approaches are:
    Sequential Numbering Conventionally in Maximo Locations are given meaningful names as the places to find the asset. The assets themselves are given a unique sequential number that is generated by, and maintained within, Maximo.
    Descriptive Asset IDs Sydney Airport has overtime used a number of descriptive identification conventions.
A future consideration is the potential integration of external systems that create assets, e.g. GIS/IBIM. Typically these systems will request an asset number be auto-generated by Maximo (as the master for location/asset numbers) when they register the asset.

## Slide 20: Agenda
  Asset Identification and Location Workshop
    Location & Asset Hierarchies - Why? >RM
    Some Definitions >RM
    Recap on Asset Categorisation work to date >All
    Current Issues & Challenges with Asset and Location identification >All
    Planning for the future >RM
    Next Steps >All