## Slide 1
Solid progress has been made in structuring and gathering Asset Data, assessing Asset Criticality and identifying Replacement Candidates. The process however is currently manually intensive and should be Solidified, Codified and Automated where possible in order to better support the Asset Portfolio SMEs. Additional Asset Data identified by the various projects needs to be loaded and where practical Contractor systems that collect useful asset data should be integrated.
Asset Capital Replacement Planning SYD Maximo Next Steps
Solidify Asset Information Foundation
  Upload Additional Asset Data
  Implement Maximo Asset Health
  Codify Asset Health Score Methods
  Integrate Asset Data from Contractors’ Systems
Next Actions
  Upload additional data gathered from the APP Asset Condition Assessment, Asset Management Plan and Capital Replacement Projects into Maximo
      Additional Asset Data
      Asset Condition Data
      Criticality, Etc
  Implement the Maximo Asset Health Module to support the Portfolio SMEs
    Maximo currently has the following modules deployed:
      Asset Data, Vendor, Corrective Maintenance, Programmed Maintenance: (Job Plans - Routes - Schedules - Work Orders), Remedial Maintenance, Financials, Inventory, Workflows, Start Centres, Plant & Equipment Register, Programmed Governance, Customisations, Integrations, Reports, KPIs, Etc.
    The Maximo Health Module enables:
      Improved operational and capital replacement decisions: Based on not only influences like age, maintenance history and cost data but also current condition-based readings from sensors & visual inspections combined with environmental data.
      Create custom health scores: Combine scoring elements and rules to generate a method to score the health of assets based on their portfolio/asset type. Define scoring ranges to easily identify assets in poor health.
      Criticality and risk scores: Define asset criticality and calculate risk in concert with health scores to prioritise action needed.
      Audit asset data: Locate and update missing asset data with new preconfigured work queues.
  Codify Asset Health Score Methods from the APP Asset Condition Assessments, Asset Management Plan and Capital Replacement Projects into Maximo Asset Health
      Continue to develop Portfolio/Asset Type specific Health Score Methods
  As soon as practicable, recommence the pre-COVID planned Contractor Integration works

## Slide 2
With SYD moving towards more normal operations post COVID-19, combined with the general organisational changes and the increase in severe weather events, there is strain on a range of operational teams in providing updates on the status of service requests. Opportunities exist to communicate, automate, enhance and integrate the pre COVID-19 processes to provide timely information to the various stakeholders.
Stakeholder SR Status Updates
SYD Maximo Next Steps
Ensure Operational Management has up-to-date SR information while Enhancing the Customer Experience
  Streamline and Communicate the process for obtaining SR Status via the phone.
  Automate/Self Service the SR Status reporting for key Stakeholder groups. E.g. Terminal Operations, Key Tenants.
  Integrate live WO data from key Contractors’ Systems
Next Actions
  Implement and communicate the streamlined FM Hub SR Status Follow-up process to enable the managed and measured escalation of SR status information requests
  Gain consensus on the level of granularity of SR status information to be provided, given the transition to normal operations and the range of timeliness of WO updates from the FM Contractors
    Liaise with the Terminal Operations and Facilities Works teams to Implement an Automated Daily Terminal Operations SR Status Report
    Implement the second phase of smartREQUEST for Tenants (DoHA JLL, et al) to enable self-service SR Status Lookup
    Evaluate the previously developed automated Requestor Status Notification from Maximo (on Status Change) configurable by Contractor, Customer or Asset Classification.
  In order to ensure that the SR Status information in SYD Maximo is as up-to-date as possible, as soon as practicable, recommence the pre-COVID planned FM Contractor Systems Integration works

## Slide 3
There are over 300 reports available from SYD Maximo, the majority of these are operationally focused and very detailed. It would be beneficial to implement a Performance Reporting Framework for FM Contractors, Assets and Processes that standardises the existing Operational level reporting while defining the requirements for expanded Management Decision Support and Executive Dashboard levels of information.
FM Performance Reporting SYD Maximo Next Steps
Establish a Robust Performance Reporting Framework
  Define the Performance Reporting Framework
  Standardise Monthly FM Contractor Performance Reporting
  Standardise Asset Performance Reporting
Next Actions
  Agree FM Performance Reporting Framework requirements across the three levels:
    Executive Dashboard
      Performance & Risk Management
        Summary Level Information from Multiple Sources
    Management Decision Support
      Availability of Accurate & Timely Information
        Provides insights, trends and input to strategic planning
        Usually more complex, requiring various data sources to be integrated
    Operational Reports
      Effectiveness & Efficiency
        Assist in managing and controlling daily activities
        Tends to be time specific and suited to on-line dashboards & reports
  Leverage the existing resources and identify the gaps
    Consider the output from previous reporting initiatives
    Pull together existing reports and standardise monthly performance reporting across the group. E.g.
      Response & Rectification
      Work Orders Missing
      PM Compliance
      Safety Hazard Reporting
    Align Contracted SLAs for consistency where possible
      Establish additional KPIs as required
    Identify and address GAPs in Performance Reports
  Implement the Maximo Asset Health Module and Codify Asset Health Score Methods
    See Asset Capital Replacement Planning